## Checklist
Task | Description | Responsible | Frequency | Evidence required | Regulatory reference / Document
Battery inventory | Record chemistry type, Wh, serial number, usage location and date of first charge for each battery. | Responsabile HSE / Magazzino | Update at receipt; monthly review | Battery register (Excel/PMS), serial labels | EU Regulation 2023/1542 (Waste & Batteries) - EUR-Lex
Classification and segregation | Classify by type (Li-ion, LiFePO4, SLI, EV), segregate used/damaged batteries in certified containers. | Magazzino / Team Manutenzione | At each movement; daily check of critical areas | Area photos, inspection reports | ADR / UN3480-UN3481 (UNECE)
Dedicated charging areas | Define and demarcate charging stations with limits on batteries/chargers per station and adequate ventilation. | Facility Manager / HSE | Weekly check | Updated floorplan, area checklist | NFPA 855 (ESS guidance) / EASA guidelines / IATA (for cargo areas)
Fireproof containers for damaged batteries | Provide certified boxes or cabinets for temporary storage of used or damaged batteries. | Magazzino / Acquisti | Permanent availability; monthly check | Container datasheet, photos | EU Regulation 2023/1542 / ADR
Handling and internal transport procedures | Define SOPs for internal handling, packaging and notification of batteries, including vehicles used. | Logistica / HSE | Drafting and annual review | Signed SOPs, movement logs | ADR / PHMSA Guide for Shippers
Operational training | Provide training on recognizing signs of anomaly (swelling, odor, heat), first response and use of PPE/fire extinguishers. | HSE / HR | At startup + annual update | Training records, attendance, training materials | EU Regulation 2023/1542 (safety), NFPA 855 (ESS)
Emergency plan and drills | Define isolation, evacuation, communication with fire services and insurer; conduct drills. | HSE / Facility Manager | Semi-annual drills; plan reviewed annually | Drill reports, improvement records | National guidelines, NFPA 855
End-of-life management and traceability | Affidare raccolta e trattamento a gestori autorizzati; conservare attestazioni di smaltimento e tracciabilità. | Acquisti / Fornitori / HSE | At each collection / quarterly checks | Transport documents, handler receipts, collection reports | EU Regulation 2023/1542, national waste laws
Transport compliance check (air/road/sea) | Verify UN classification, packaging, labeling and Wh limits; obtain Dangerous Goods expert advice when needed. | Spedizioni / Responsabile Dangerous Goods | Each shipment; annual audit | Dangerous goods declarations, transport documents, ADR/IATA training | IATA DGR, ADR (UNECE), IMDG
Anomaly log and corrective actions | Log any report or event; track corrective action with responsible person and deadlines. | HSE / Magazzino | Continuous; monthly review | Anomaly log, corrective action reports | Regolamento UE 2023/1542 (tracciabilità) / linee guida operatori

## RegisterTemplate
Serial | Type | Capacity_Wh | Location | Date_first_charge | Notes | Status
BAT-0001 | Li-ion 18650 | 50 | Workshop A - Station 1 | 2025-06-10 |  | In use
BAT-0042 | Li-ion 21700 | 120 | Warehouse B - Shelf 3 | 2024-11-20 | Overheating reported 2025-02-14 | Isolated

## References
Title | Source | URL | Notes
IATA - Lithium Battery Guidance Document (PDF) | IATA | https://www.iata.org/contentassets/05e6d8742b0047259bf3a700bc9d42b9/lithium-battery-guidance-document.pdf | IATA guidance for air shipments, PI 965/966/968 etc.
PHMSA - Lithium Battery Guide for Shippers (2024 PDF) | PHMSA (US DOT) | https://www.phmsa.dot.gov/sites/phmsa.dot.gov/files/2024-11/Lithium-Battery-Guide-2024.pdf | Practical guide for shippers, packaging and classification.
ADR 2023 - Agreement concerning International Carriage of Dangerous Goods by Road (UNECE) | UNECE / ADR | https://unece.org/transport/standards/transport/dangerous-goods/adr-2023-agreement-concerning-international-carriage | ADR regulations and volumes, UN3480 / UN3481 references.
IATA - Batteries (webpage) | IATA | https://www.iata.org/en/programs/cargo/dgr/lithium-batteries/ | Summary page of rules for air cargo.
EU Regulation 2023/1542 on batteries and waste batteries (PDF) | EUR-Lex | https://eur-lex.europa.eu/legal-content/EN/TXT/PDF/?uri=CELEX%3A32023R1542 | EU regulation on batteries and waste (safety, collection, traceability).
NFPA 855 - Standard for the Installation of Stationary Energy Storage Systems | NFPA | https://www.nfpa.org/codes-and-standards/nfpa-855-standard/p0855code | Standard for ESS installations and fire-safety measures.
NTSB Report - Boeing 787 Auxiliary Power Unit Battery Fire (2014 PDF) | NTSB | https://www.ntsb.gov/investigations/accidentreports/reports/air1401.pdf | Investigation on aircraft battery fire - important case study.
GOV.UK - Fires in e-bikes and e-scooters (2024/2025) | UK OPSS | https://www.gov.uk/government/publications/fires-in-e-bikes-and-e-scooters/fires-in-e-bikes-and-e-scooters-2024 | Statistics and report on e-bike and e-scooter fires.
EASA - Recommendations on managing risks of lithium batteries (2025) | EASA | https://www.easa.europa.eu/en/newsroom-and-events/press-releases/easa-publishes-new-recommendations-managing-risks-lithium | EU recommendations updates for aviation and passengers.
UNECE ADR Volume 2 (PDF) - lithium batteries sections | UNECE | https://unece.org/sites/default/files/2023-01/ADR2023_Vol2e.pdf | ADR volume full text (sections on packaging and restrictions).